## Sheet2 (hidden)
P&L | [12 empty] | BS
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Years | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 |  |  | Years | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Revenue | 1344.141 | 1685.5522 | 1946.8728 | 2243.602 | 2580.2083 | 2838.2292 | 3122.0521 | 3434.2573 | 3777.683 | 4155.4513 |  |  | Assets
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1000000 |  | Cash | 1002.1345 | 2484.5791 | 4223.4273 | 6232.9297 | 8549.8016 | 11118.3919 | 13945.5475 | 17057.2615 | 20482.137 | 24251.6495
Project operating costs | 58.32 | 62.9856 | 68.0244 | 73.4664 | 79.3437 | 85.6912 | 92.5465 | 99.9502 | 107.9462 | 116.5819 |  |  | Inventory | 2.916 | 3.1493 | 3.4012 | 3.6733 | 3.9672 | 4.2846 | 4.6273 | 4.9975 | 5.3973 | 5.8291
Depreciation | 139.8668 | 125.8801 | 120.2855 | 114.5509 | 109.1101 | 103.9266 | 98.9895 | 94.2869 | 89.8076 | 85.5412 |  |  | Trade Receivables | 220.9547 | 277.0771 | 320.0339 | 368.8113 | 424.1438 | 466.5582 | 513.214 | 564.5354 | 620.989 | 683.0879
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Total Current Assets | 1226.0052 | 2764.8055 | 4546.8624 | 6605.4143 | 8977.9126 | 11589.2347 | 14463.3889 | 17626.7944 | 21108.5233 | 24940.5665
Gross Profit | 1145.9542 | 1496.6865 | 1758.5629 | 2055.5847 | 2391.7545 | 2648.6113 | 2930.5161 | 3240.0202 | 3579.9291 | 3953.3281 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Fixed Assets | 5314.9386 | 5063.1783 | 4822.6074 | 4593.5056 | 4375.2854 | 4167.4321 | 3969.4532 | 3780.8795 | 3601.2642 | 3430.1817
Administrative expenses | 67.207 | 84.2776 | 97.3436 | 112.1801 | 129.0104 | 141.9115 | 156.1026 | 171.7129 | 188.8842 | 207.7726 |  |  | Total Assets | 6540.9437 | 7827.9838 | 9369.4698 | 11198.9199 | 13353.198 | 15756.6668 | 18432.8421 | 21407.6739 | 24709.7875 | 28370.7482
Depreciation | 139.8668 | 125.8801 | 120.2855 | 114.5509 | 109.1101 | 103.9266 | 98.9895 | 94.2869 | 89.8076 | 85.5412 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Profit before taxation | 938.8803 | 1286.5288 | 1540.9338 | 1828.8537 | 2153.634 | 2402.7732 | 2675.424 | 2974.0205 | 3301.2373 | 3660.0143 |  |  | Liabilities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Long term loan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Profit after taxation | 938.8803 | 1286.5288 | 1540.9338 | 1828.8537 | 2153.634 | 2402.7732 | 2675.424 | 2974.0205 | 3301.2373 | 3660.0143 |  |  | Trade Payables | 6.3912 | 6.9025 | 7.4547 | 8.0511 | 8.6952 | 9.3908 | 10.1421 | 10.9535 | 11.8297 | 12.7761
GP | 85.26% | 88.8% | 90.33% | 91.62% | 92.7% | 93.32% | 93.87% | 94.34% | 94.77% | 95.14% |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OP | 69.85% | 76.33% | 79.15% | 81.51% | 83.47% | 84.66% | 85.69% | 86.6% | 87.39% | 88.08% |  |  | Total Liabilities | 6.3912 | 6.9025 | 7.4547 | 8.0511 | 8.6952 | 9.3908 | 10.1421 | 10.9535 | 11.8297 | 12.7761
NP | 69.85% | 76.33% | 79.15% | 81.51% | 83.47% | 84.66% | 85.69% | 86.6% | 87.39% | 88.08% |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[13 empty] | Equity | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[14 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Revenue | [11 empty] | 0 | Share Capital | 5595.6722 | 5595.6722 | 5595.6722 | 5595.6722 | 5595.6722 | 5595.6722 | 5595.6722 | 5595.6722 | 5595.6722 | 5595.6722
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |  |  | Accumulated Profits | 938.8803 | 2225.4091 | 3766.3429 | 5595.1966 | 7748.8306 | 10151.6038 | 12827.0278 | 15801.0483 | 19102.2856 | 22762.3
Years | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 |  |  |  | 6534.5525 | 7821.0813 | 9362.0151 | 11190.8688 | 13344.5028 | 15747.276 | 18422.7 | 21396.7205 | 24697.9578 | 28357.9721
Revenue | - | - | - | - | - | - | - | - | - | - |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
IT Park Operations | 1115 | 1434 | 1670 | 1939 | 2245 | 2469 | 2716 | 2988 | 3287 | 3615 |  |  | Total Equity & Liability | 6540.9437 | 7827.9838 | 9369.4698 | 11198.9199 | 13353.198 | 15756.6668 | 18432.8421 | 21407.6739 | 24709.7875 | 28370.7482
Café | 38 | 42 | 46 | 51 | 56 | 61 | 68 | 74 | 82 | 90 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gym | 11 | 12 | 13 | 14 | 16 | 18 | 19 | 21 | 23 | 26 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| - | - | - | - | - | - | - | - | - | - |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Services | 180 | 198 | 218 | 240 | 264 | 290 | 319 | 351 | 386 | 424 |  |  |  | 217.4795 | 273.3238 | 315.9804 | 364.4335 | 419.4158 | 461.452 | 507.6993 | 558.5795 | 614.5566 | 676.1409
Total revenue | 1344 | 1686 | 1947 | 2244 | 2580 | 2838 | 3122 | 3434 | 3778 | 4155 |  |  |  | 0 | 55.8444 | 42.6566 | 48.4531 | 54.9823 | 42.0361 | 46.2473 | 50.8802 | 55.9771 | 61.5843
Benazir Youth: Empowering Youth through Emerging Technologies
Vertical Analysis | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Gross profit Margin | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Net Profit Margin | 69.85% | 76.33% | 79.15% | 81.51% | 83.47% | 84.66% | 85.69% | 86.6% | 87.39% | 88.08%
ROCE | 28.74% | 17.92% | 17.94% | 17.8% | 17.56% | 16.52% | 15.66% | 14.94% | 14.32% | 13.8%
Asset Turnover | 0.41099 | 0.23461 | 0.22641 | 0.21816 | 0.21018 | 0.195 | 0.18263 | 0.1724 | 0.16383 | 0.15657
Working Capital | 217.4795 | 273.3238 | 315.9804 | 364.4335 | 419.4158 | 461.452 | 507.6993 | 558.5795 | 614.5566 | 676.1409

## Cover
Mountain View Science and Tech Park Financial Model
BPPPA
July 2024

## MC
Financial Model
Mountain View Science and Tech Park
Model Calculator
PROJECT RETURNS |  |  |  | PROJECT
INTERNAL RATE OF RETURN (%)
INTERNAL RATE OF RETURN (%) |  |  |  | 0%
INTERNAL RATE OF RETURN (%)
NET PRESENT VALUE (PKR) |  |  |  | 0
Conversion Factors
Acre to kanal | 8
Acre to sq ft | 43560
sq ft to kanal | 0.00018365
USD to PKR | 280
Project Land
| Acre | Kanal | SQ FT
Total available area | 0.81006 | 6.4805 | 35286
Land under construction (one floor) | 0.3214 | 2.5712 | 14000
Land available | 0.48866 | 3.9093 | 21286
Design Schema - Floor Plan
Number of floors | 2
As per Layout
Ground Floor
Block A | Proposed | Dimensions |  |  |  | Total covered area
Guest Room | Admin/Control/Staff Office | 20'9"x16' |  |  |  | 334.4
Warden Room | CEO/Executive Offices | 20'9"x16' |  |  |  | 334.4
Room 1,2,3,4,5,6 | Coworking Spaces | 13'1"x16' each |  |  |  | 1257.6
Room 7,8,9,10 | Startup Incubators | 13'1"x13' | 13'7"x13' | 13'3"x13' | 13'3"x13' | 694.2
Block B
Guest Room | CEO/Executive Offices | 20'9"x16' |  |  |  | 334.4
Warden Room | CEO/Executive Offices | 20'9"x16' |  |  |  | 334.4
Room 1,2,3,4,5,6 | Computer and Testing Lab | 13'1"x16' each |  |  |  | 1257.6
Room 7,8,9,10 | Café & Restaurant | 13'1"x13' | 13'7"x13' | 13'3"x13' | 13'3"x13' | 694.2
First Floor
Block A
Guest Room | Corporate Office Spaces | 20'9"x16' |  |  |  | 334.4
Warden Room | Corporate Office Spaces | 20'9"x16' |  |  |  | 334.4
Room 11,12,13,14,15,16 | Coworking Spaces | 13'1"x16' each |  |  |  | 1257.6
Room 17,18,19,20 | Research and Development Centre | 13'1"x13' | 13'7"x13' | 13'3"x13' | 13'3"x13' | 694.2
Block B
Guest Room | Storage Room | 20'9"x16' |  |  |  | 334.4
Warden Room | Residential Area for Guards & Office Boys | 20'9"x16' |  |  |  | 334.4
Room 11,12,13,14,15,16 | Corporate Office Spaces | 13'1"x16' each |  |  |  | 1257.6
Room 17,18 | Seminar Room | 13'1"x13' | 13'7"x13' |  |  | 348.4
Room 19,20 | Conference Room | 13'3"x13' | 13'3"x13' |  |  | 345.8
Construction cost summary
Electric Work | 0
Plumbing Work | 0
STP | 0
Contigencies @ 5% | 0
Total construction cost | 0
Initial cash requirement | 0
Financing plan
Debt equity ratio | 0%
Spread over KIBOR | 3%
Lease pricing plan
PKR/SFT
STP rental spaces | 0
O&M services (internet provision, utilities and security provision and cleaning) | 0
STP services (networking, meeting space, mentorship, etc.) | 0
Retail spaces | 0
Meeting room charges per hr* | 0
*Meeting room charges apply to non-credit hour usage by STP in-house companies or external
Project operating costs (PKR per Month)
Electricity - PKR per unit | 18
consumption per sq ft pr month | 1.45 | 10 hours per day, 20 days per month |  |  |  | 145000 | 23400
Water | 0 | per month
Maintenance | 0% | As percentage of total revenue
Marketing costs | 0% | As percentage of total revenue
Security cost | 0 | per month
HR costs
Director /Manager (Overall management and strategic direction) | 0 | per month
Assistant Manager and Business Development Manager (Support to the Director, oversee daily operations) | 0 | per month
Administrative and IT Assistants / Support Staff | 0 | per month
0
Working capital assumptions
Trade debts/ receivables (days) |  | 0
Trade payables & other liabilities (days) |  | 0
Investories - as % of direct costs |  | 0%
Taxation
Corporate tax rate |  | 29%
Turnover tax |  | 1.25%
Alternate corporate tax |  | 17%
STZE |  | Yes

## CAPEX - Summary
CONSTRUCTION OF STP
MUREEABAD, QUETTA
CAPEX SUMMARY
Components | Description of Work | Amount
1 | Component 1: Electric Work | 0
2 | Component 2: Plumbing Work | 0
3 | Component 3: STP related costs | 0
| Total | 0

## Component 1- Electric Work
CONSTRUCTION OF STP
AT MARIABAD, QUETTA
BILL OF QUANTITY
ELECTRIC WORK
Sr .No | Description | Unit | Qty | Rate | Amount
1 | Wiring of light/fan/call-bell point in 3/0.029 PVC insulated bare cable in 3/4'' dia or bigger as required heavy guage PVC conduit conceled in walls, columns, ceilling, floor etc. | Each | 120 | 0 | 0
2 | Wiring from first light point to other light point or fan point with 3 no's 1.5mm sq single core PVC Insulated. | Each | 130 | 0 | 0
3 | Supply & Installation of heavy guage PVC conduit on surface of wall, columns, ceiling etc. including all fitting & accessories and following sizes.
a | a) PVC conduit 20 mm (3/4'') dia | Mtr | 310 | 0 | 0
b | b) PVC conduit 25 mm (1'') dia | Mtr | 135 | 0 | 0
4 | Supply & drawing in prelaid conduit, PVC/GI Pipe, RCC pipe, Trenches, Single core PVC insulated 300/500V grade copper conductor cables of pakistan or pioneer cables of following sizes
a | Single core cable 2.5 mm2 | Mtr | 625 | 0 | 0
b | Single core 4 mm2 300/500V cable | Mtr | 395 | 0 | 0
c | Single core 6 mm2 300/500V cable | Mtr | 475 | 0 | 0
d | Single core 16 mm2 300/500V cable | Mtr | 295 | 0 | 0
5 | Supply and fixing of the following light with all aceesoires.
a | Ceilling Lights | Nos | 350 | 0 | 0
b | Pandent | Nos | 315 | 0 | 0
d | Wall Shade Light | Nos | 48 | 0 | 0
e | Niche Light | Nos | 42 | 0 | 0
6 | Supply and fixing of the following types best quality ceilling fan complete with GI rod,.
a | a) 56'' fan | Each | 16 | 0 | 0
b | Supply and Fixing dimmer switch complete. | Each | 16 | 0 | 0
7 | Supply and installation of 24'' sweep, plastic body, Exhaust fan incluiding all civil works required for complete installation and of asia/climax/pak fan made including all labour and materials cable required at site and as approved by the M(Elect).
8 | Supply and Installation of Switches.
a | 5 Amp Single Pole Flush Type Switch | Each | 150 | 0 | 0
b | 5 Amp 2way Flush Type Switch | Each | 160 | 0 | 0
9 | Supply and fixing of following Power accessories.
a | 10a, 1 Gang 2 Pin | Nos | 48 | 0 | 0
b | 15a, 1 Gang 3 Pin | Nos | 80 | 0 | 0
c | Wall Light | Nos | 56 | 0 | 0
d | UPS System with all accessories. | Nos | 2 | 0 | 0
e | Telephone and Intercome | Nos | 2 | 0 | 0
f | TV plug point | Nos | 2 | 0 | 0
10 | Supply and fixing of the following single phase imported auto circuit breakers as approved.
a | 10 Amp | Each | 52 | 0 | 0
b | 15 Amp | Each | 34 | 0 | 0
c | 20 Amp | Each | 48 | 0 | 0
11 | Providing and Fixing of earthing electrod 2''x2'x1/4'' copper plate burried at the depth of 15feet in ground with two Nos. Earthing leads of strended copper conductor 2x8SWG (with salt and charcoal, or earthing chemical powder) i/c fixing of 8SWG copper wire in 1/2'' GI conduit from earth pit to DBs complete in all respect as required, and approved by the Engineer incharge. | Each | 1 | 0 | 0
12 | Providing and fixing plastic PVC heavy guage fan hook box suitable for RCC roof with MS bar 5/8'' dia & complete in all respect as approved by the Engineer incharge.
| Supply and fixing of Wall AC 1.5 Ton | Each | 8 | 0 | 0
13 | Supply and fixing of MS Sheet box of 16 SWG, 4'' : (4''x4'') | Each | 80 | 0 | 0
14 | Supply and Fixing of Sub Distribution Board for both floors (24''x30'') | Each | 8 | 0 | 0
15 | Supply and Fixing of Main Distribution Boards (24''x30'') | Each | 2 | 0 | 0
| Total Electric Work |  |  |  | 0

## Component 2- Plumbing Work
CONSTRUCTION OF STP
AT MARIABAD, QUETTA
BILL OF QUANTITY
PLUMBING WORK
Sr. No | Description | Unit | Qty | Rate | Amount
A | Toilet, Bath and Laundary Accessories.
| Towel Rail | No | 12 | 0 | 0
| Soap Dish | No | 12 | 0 | 0
| Mirror | Sft | 96 | 0 | 0
B | GI Gate Valves with All Allied Accessories
| 1/2'' Dia | No | 24 | 0 | 0
| 3/4'' Dia | No | 18 | 0 | 0
| 1'' Dia | No | 6 | 0 | 0
C | Plumbing Fixtures and Fittings
| Asian WC | No | 8 | 0 | 0
| Muslim Shower | No | 8 | 0 | 0
| Bath Mixer | No | 8 | 0 | 0
| Bib cock 12 mm Dia | No | 48 | 0 | 0
| uPVC floor Gully top | No | 24 | 0 | 0
| 4''Floor P Trap | No | 20 | 0 | 0
| Manhole Cover with 24" x 24'' | No | 6 | 0 | 0
| Geyser (Good Brand) - 45 Gallons | No | 4 | 0 | 0
| Water Supply Pump | No | 2 | 0 | 0
| Total Plumbing Work |  |  |  | 0

## Component 3- STP
Fixed Assets
| Furniture, fittings and renovation |  |  |  | 0
| Network equipment and testing |  |  |  | 0
| Security equipment |  |  |  | 0
| Complete Solar System (120 kVA) |  |  |  | 0
| Generator (165 kVA) |  |  |  | 0
| UPS complete system (5 kVA) |  |  |  | 0
0
0
CONSTRUCTION OF STP
AT MARIABAD, QUETTA
BILL OF QUANTITY
STP RELATED COSTS
Sr. No | Description | Unit | Qty | Rate | Amount
1 | CEO/Executive Offices
Warden Room (on Ground Floor) - Block -A [20'9"x16']
Warden Room (on Ground Floor) - Block -B [20'9"x16']
Guest Room (on Ground Floor) - Block -B [20'9"x16']
| Executive Table | No | 3 | 0 | 0
| Executive Chair | No | 3 | 0 | 0
| Filing Cabinets | No | 6 | 0 | 0
| Bookshelves/Bookccases | No | 3 | 0 | 0
| Decorative items | No | 12 | 0 | 0
| Artificial/Natural Plants | No | 6 | 0 | 0
| Artwork | No | 6 | 0 | 0
0
2 | Admin/Control/Staff Office
Guest Room (on Ground Floor) - Block -A [20'9"x16']
| Manager Table (5'x2'6") | No | 1 | 0 | 0
| Manager Chair | No | 1 | 0 | 0
| Staff Tables (3'x2') | No | 3 | 0 | 0
| Staff Chairs | No | 3 | 0 | 0
| Filing Cabinets | No | 3 | 0 | 0
| Bookshelves/Bookcases | No | 3 | 0 | 0
| Decorative items | No | 2 | 0 | 0
| Artificial/Natural Plants | No | 2 | 0 | 0
| Artwork | No | 2 | 0 | 0
0
3 | Reception
Open In the lobby (Entrance Place Adjustment to Stairs)
| Reception Table | No | 1 | 0 | 0
| Reception Stool (Bar Stool or Heighted Chair) | No | 1 | 0 | 0
| Printer | No | 1 | 0 | 0
| Photo Copier | No | 1 | 0 | 0
| Printer/Scanner | No | 1 | 0 | 0
| Artificial/Natural Plants | No | 2 | 0 | 0
| Artwork | No | 2 | 0 | 0
0
3 | Coworking Spaces
Spaces for freelancers, remote workers & small teams.
Room No.1, 2, 3, 4, 5, 6 (G-Floor)-Block-A [13'1"x16'] x4
Room No.11, 12, 13, 14, 15, 16 (F-Floor)Block-A[13'1"x16'] x4
| Shared Tables (8'-0''x4'-0'') | No | 24 | 0 | 0
| Chairs | No | 144 | 0 | 0
| Artificial/Natural Plants | No | 24 | 0 | 0
| Artwork | No | 24 | 0 | 0
| Dismantling | Sq ft | 1536 | 0 | 0
0
4 | SECURITY & SURVELLEINCE
| CCTV Cameras (HD) | No | 64 | 0 | 0
| NVR | No | 4 | 0 | 0
| Monitors: Display live and recorded video. | No | 4 | 0 | 0
| 16 Port POE switch | No | 4 | 0 | 0
| Switches: Route video signals to multiple monitors. | No | 4 | 0 | 0
| Video Processing Software: | No | 1 | 0 | 0
| Cat 6 | Mtr | 1200 | 0 | 0
Storage Devices:
| SAN - (1.2 TB) | No | 1 | 0 | 0
| NAS (10 TB) | NO | 1 | 0 | 0
0
5 | NETWORKING INFRASTUCURE
| High Speed Internet | 100Mps | 6 | 0 | 0
| Fiber Optic Cables (2 Core) | Mtr | 1200 | 0 | 0
| Cat 6 | Mtr | 1200 | 0 | 0
| Wi-Fi access points-3702i dual band-5Ghz | No | 8 | 0 | 0
| Network Switches - D-LinkDGS-108, 8-port | No | 4 | 0 | 0
0
7 | Corporate Office Spaces
Spaces for Independent Companies
Warden Room (on First Floor) - Block -A [20'9"x16']
Guest Room (on First Floor) - Block -A [20'9"x16']
| Staff Table (3'x2') | No | 8 | 0 | 0
| Chairs | No | 8 | 0 | 0
| Independent Cabinets | No | 8 | 0 | 0
| Artificial/Natural Plants | No | 2 | 0 | 0
| Artwork | No | 2 | 0 | 0
Corporate Office Spaces
Spaces for Independent Companies
Room No.11, 12, 13, 14, 15, 16 (F-Floor) - Block -B [13'1"x16']
| Staff Table (3'x2') | No | 24 | 0 | 0
| Chairs | No | 24 | 0 | 0
| Independent Cabinets | No | 24 | 0 | 0
| Artificial/Natural Plants | No | 6 | 0 | 0
| Artwork | No | 6 | 0 | 0
0
8 | Conference Room
Space for business meetings and small conferences
Room No.19, 20 (First Floor) - Block-B [13'3"x13']
| Conference table (rectangular shape) - 20'-0'' long | No | 1 | 0 | 0
| Chairs | No | 20 | 0 | 0
| Presentation tools (projectors, screens) | No | 1 | 0 | 0
| Camera for video conferencing | No | 1 | 0 | 0
| Mics & Speaker Setup | No | 1 | 0 | 0
| White Board | No | 1 | 0 | 0
| Dismantling Cost | Sq ft | 156 | 0 | 0
0
9 | Seminar Room
Space for Seminars or medium size event
Room No.17, 18 (First Floor) - Block-B
[13'1"x13] and [13'7"x13]
| Wooden Podium Dise | No | 1 | 0 | 0
| Chairs | No | 40 | 0 | 0
| Presentation tools (projectors, screens) | No | 1 | 0 | 0
| Camera for video conferencing | No | 1 | 0 | 0
| Mic & Speaker Setup | No | 1 | 0 | 0
| White Board | No | 1 | 0 | 0
| Dismantling Cost | Sq ft | 156 | 0 | 0
0
10 | Storage Room
Space for maintenance tools, extra equipment & storage purposes
Guest Room (First Floor) - Block-B [20'9"x16']
| Wall Mounted Racks & Cabinets | Wall | 3 | 0 | 0
0
10 | Residential Area for Guards & Office Boys
Accommodation Spaces
Warden Room (First Floor) - Block-B [20'9"x16']
| Metal Beds | No | 4 | 0 | 0
| Table + Chairs | No | 1 | 0 | 0
| Cabinets | No | 1 | 0 | 0
0
11 | Startup Incubators
Working space, facilities and services to support new tech startups.
Room No.7,8, 9, 10 (on Ground Floor) - Block -A
| Open desks and workstations | No | 12 | 0 | 0
| Comfortable and colorful chairs | No | 24 | 0 | 0
| Whiteboards and glassboards for brainstorming | No | 2 | 0 | 0
| Meeting tables and conference rooms | No | 2 | 0 | 0
| Cozy lounge areas and sofas | No | 8 | 0 | 0
| Standing desks and ergonomic furniture | No | 6 | 0 | 0
| Lockable storage and shelving units | No | 12 | 0 | 0
| Fast and secure internet connectivity-per year | No | 2 | 0 | 0
| Printing and scanning stations | No | 6 | 0 | 0
| Kitchenettes sink | No | 2 | 0 | 0
| Dismantling Cost | Sq ft | 468 | 0 | 0
0
12 | AMENITIES
Cafeteria / Restaurant
Dining option
Area of Room No.7, 8 , 9 , 10 (Ground Floor)-Block-B
[13'1"x13], [13'7"x13'] and [13'3x13]x2
| Tables (3'-6''x3'-6'') | No | 12 | 0 | 0
| Chairs | No | 24 | 0 | 0
| Stools | No | 12 | 0 | 0
| Wall Mounted Bar Rack/Table | No | 4 | 0 | 0
| Fridge | No | 1 | 0 | 0
| Water Dispenser | No | 1 | 0 | 0
| Microwave/Oven | No | 8 | 0 | 0
| Crockery items | No | 1 | 0 | 0
| Decore/Art Work/Planters | No | 1 | 0 | 0
| Commercial Refrigerator | No | 1 | 0 | 0
| Kitchen Setup (Sink/Cabinets etc.) | No | 1 | 0 | 0
| Dismantling | Sq ft | 468 | 0 | 0
0
13 | RESEARCH AND DEVELOPMENT CENTRE
i | Innovation Labs
Spaces dedicated to research and innovation, often in collaboration with universities or other research institutions.
Room No.17, 18, 19, 20 (on First Floor) - Block-A
| Workbenches | No | 12 | 0 | 0
| R & L Cabinets | No | 6 | 0 | 0
| Global Lab chairs | No | 12 | 0 | 0
| Chemical cabinets | No | 4 | 0 | 0
| Anechoic chamber | No | 6 | 0 | 0
| Dismantling | Sq ft | 468 | 0 | 0
ii | Computer Lab / Testing Facilities
Areas equipped with tools and technology for product development and testing.
Room No.1, 2, 3, 4, 5, 6 (on Ground Floor) - Block-B
| Table (3'x2') | No | 32 | 0 | 0
| Chairs | No | 32 | 0 | 0
| Hardware testing equipments like server etc | No | 1 | 0 | 0
| Computer systems with led screen | No | 24 | 0 | 0
| Laptops | No | 8 | 0 | 0
| Software testing tools like scanner etc | No | 4 | 0 | 0
| Automated testing software | No | 2 | 0 | 0
| Debugging tools | No | 4 | 0 | 0
| Performance testing software like Meter, Gatling | No | 2 | 0 | 0
| Security testing tools | No | 4 | 0 | 0
Networking testing tools
| Network simulators and emulators | No | 2 | 0 | 0
| Traffic generators and analyzers | No | 2 | 0 | 0
| Network protocol analyzers | No | 4 | 0 | 0
| Firewall and security testing tools | No | 4 | 0 | 0
| Cybersecurity testing equipment like Metaspolit-per year | No | 2 | 0 | 0
| Passwork cracking tools like Ripper etc | No | 2 | 0 | 0
| Dismantling | Sq ft | 768 | 0 | 0
0
14 | OTHER
| Renovation costs (including curtains and blinds) | Sq ft | 1440 | 0 | 0
| UPS complete system (5 kVA) | No. |  | 0 | 0
| Complete Solar System (120 kVA) | kVA | 120 | 0 | 0
| Generator (165 kVA) | kVA | 160 | 0 | 0
| Paint Job - Including Material (Complete Building Inside) | Sq ft | 75072 | 0 | 0
0
0

## FA
Financial Model
Mountain View Science and Tech Park
Fixed Assets
For the Period
S. No. | Description | Total Cost | Rate | Y0 | Y1 | Y2 | Y3 | Y4 | Y5 | Y6 | Y7 | Y8 | Y9 | Y10 | Y11 | Y12 | Y13 | Y14 | Y15
1 | Building and works | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Furniture, fittings and renovation | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Network equipment and testing | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Security equipment | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Complete Solar System (120 kVA) | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Generator (165 kVA) | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | UPS complete system (5 kVA) | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WDV |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Depreciation |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
% for apportionment
COGS | 0% |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SG&A | 0% |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Working
Financial Model
Mountain View Science and Tech Park
Working
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Years | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039
Revenue
Revenue
STP rental spaces | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
O&M services (internet provision, utilities and security provision and cleaning) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STP services (networking, meeting space, mentorship, etc.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Retail spaces | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Conference and Seminar Rooms | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total revenue | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Price escalation | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Occupancy factor | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Meeting room hrs per month | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Covered area | 334.4 | 334.4 | 334.4 | 334.4 | 334.4 | 334.4 | 334.4 | 334.4 | 334.4 | 334.4 | 334.4 | 334.4 | 334.4 | 334.4 | 334.4
Costs escalation | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Project operating costs
Water | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF!
Repair and Maitenance | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Marketing costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Security | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HR costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## PnL
Financial Model
Mountain View Science and Tech Park
Profit or Loss
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Years | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039
Revenue | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Project operating costs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Depreciation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gross Profit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Administrative expenses | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Depreciation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Profit before taxation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taxation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Profit after taxation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GP | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
OP | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
NP | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## BS
Financial Model
Mountain View Science and Tech Park
Balance Sheet
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Years | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039
Assets
Cash | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Inventory | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade Receivables | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Current Assets | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fixed Assets | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Assets | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liabilities
Long term loan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade Payables | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Liabilities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Equity
Share Capital | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Accumulated Profits | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## CF
Financial Model
Mountain View Science and Tech Park
Cash Flow
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Years | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039
Profit before tax | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Add: Depreciation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Changes in Working Capital
Inventory | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade Receivables | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Trade Payables | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tax Paid | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Cash from Operating Activities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash from Investing Activities
Fixed Assets | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash from Financing Activities
Share Capital | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Loan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total changes in CF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash at beginning of the year | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cash at Year End | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## PR
Financial Model
Mountain View Science and Tech Park
Projected Returns
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Years |  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039
Profit after tax |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Add: Depreciation |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less: Increase in Net Working Capital |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less: CAPEX | 0
Available FCF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Terminal Value |  | 2039: 0
Total Available FCF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NPV | 0
IRR | 0%
Terminal Growth Rate | 0%
Discount Rate | 0%
Risk free rate | 0%
Market premium | 0%
Beta | 0
Cost of equity / WACC | 0%

## FP
Financial Model
Mountain View Science and Tech Park
Financial Proposal
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Years |  | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039
Dividends Calculation
Net Profit / (Loss) | PkR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dividend Payout Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Dividends | PkR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Quoted Free Equity Share for GoB | 0
Government Share of Dividends against Quoted Free Equity - Absolute Terms | PkR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Discount Factor | 15% | 15 2039: 0
Government Share of Dividends against Quoted Free Equity - Present Value | 0